## Sheet1
Date | ALKALINITY, TOTAL (MG/L AS CACO3) | CHLORIDE (MG/L AS CL) | CHLOROPHYLL-A UG/L SPECTROPHOTOMETRIC ACID. METH | DAYS SINCE PRECIPITATION EVENT (DAYS) | DEPTH OF BOTTOM OF WATER BODY AT SAMPLE SITE | E. COLI, COLILERT, IDEXX METHOD, MPN/100ML | ENTEROCOCCI, ENTEROLERT, IDEXX, (MPN/100 ML) | EVIDENCE OF PRIMARY CONTACT RECREATION (1 = OBSERVED, 0 = NOT OBSERVED) | FLOW STREAM, INSTANTANEOUS (CUBIC FEET PER SEC) | FLOW MTH 1=GAGE 2=ELEC 3=MECH 4=WEIR/FLU 5=DOPPLER | FLOW SEVERITY:1=No Flow,2=Low,3=Normal,4=Flood,5=High,6=Dry | HARDNESS, TOTAL (MG/L AS CACO3) | NITRITE PLUS NITRATE, TOTAL ONE LAB DETERMINED VALUE (MG/L AS N) | NITROGEN, AMMONIA, TOTAL (MG/L AS N) | NITROGEN, KJELDAHL, TOTAL (MG/L AS N) | OXYGEN, DISSOLVED (MG/L) | PH (STANDARD UNITS) | PHOSPHORUS, TOTAL, WET METHOD (MG/L AS P) | PRESENT WEATHER (1=CLEAR,2=PTCLDY,3=CLDY,4=RAIN,5=OTHER) | PRIMARY CONTACT, OBSERVED ACTIVITY (# OF PEOPLE OBSERVED) | RESIDUE, TOT DISS,UNSPEC CALC BASED ON COND (MG/ | RESIDUE, TOTAL NONFILTRABLE (MG/L) | SPECIFIC CONDUCTANCE,FIELD (US/CM @ 25C) | STREAM FLOW ESTIMATE (CFS) | SULFATE (MG/L AS SO4) | TEMPERATURE, WATER (DEGREES CENTIGRADE) | TRANSPARENCY, SECCHI DISC (METERS) | TURBIDITY,LAB NEPHELOMETRIC TURBIDITY UNITS, NTU | WIND INTENSITY (1=CALM,2=SLIGHT,3=MOD.,4=STRONG)
2010-11-17 | 66 | 3642.4 |  | 2 |  |  |  |  | 652 | 1 | 2 | 1236 | 0.32 | 0.1 |  | 5.9 | 7.2 | 0.09 | 1 |  | 7386 | 16.9 | 11500 |  | 506.6 | 19.7 | 0.42 | 10.2
2011-02-17 | 51 | 1996 |  | 7 |  |  | 23 |  | 272 | 1 | 2 | 614 | 0.1 | 0.16 |  | 10.2 | 7.3 | 0.06 | 3 |  | 4109 | 9.6 | 6330 |  | 287.8 | 12.5 | 0.36 | 18.8
2011-05-18 | 85 | 853.3 |  | 6 |  |  | 46 |  |  | 1 | 3 | 1533 | 0.47 | 0.12 |  | 2.8 | 7 | 0.12 | 1 |  | 8870 | 4 | 13600 | 30 | 643.2 | 24.7 | 0.5 | 7.7
2011-08-23 | 63 | 797.2 |  | 7 |  |  | 30 |  |  | 1 | 3 | 1283 | 0.07 | 0.26 |  | 3.9 | 7.2 | 0.17 | 2 |  | 8103 | 7.7 | 12500 | 494 | 561 | 31.9 | 0.61 | 6.2
2011-10-18 | 83 | 1480.4 |  | 9 | 6.3 |  | 12 |  |  |  | 3 | 2278 | 0.41 | 0.19 |  | 2.2 | 6.9 | 0.15 |  |  | 14040 | 6.4 | 21600 | 117 | 341.8 | 25.3 | 0.54 | 6.03
2012-02-14 | 12 | 9.6 | 3 | 1 | 5.2 | 30 | 29 |  | 11300 | 1 | 5 | 28 | 0.05 | 0.1 | 2.2 | 8.1 | 6.1 | 0.08 | 3 |  | 69 | 20.8 | 106 |  | 19.9 | 11.7 | 0.33 | 25.8
2012-04-17 | 23 | 17.5 | 3 | 1 | 6.1 | 17 | 17 |  | 6490 | 1 | 3 | 45 | 0.12 |  | 0.8 | 6 | 6.8 | 0.13 | 3 |  | 115 | 22.4 | 178 |  | 35.2 | 23.7 | 0.3 | 28.5
2012-06-21 | 23 | 27.2 | 3 | 2 | 6.2 | 2 | 10 |  |  | 1 | 3 | 38 | 0.05 | 0.1 | 2.3 | 6.6 | 6.9 | 0.06 | 1 |  | 122 | 16 | 188 | 3090 | 29.5 | 28.9 | 0.32 | 23.2 | 1
2012-11-28 | 57 | 3204 | 3 | 40 | 5.6 |  | 250 | 0 | 1285 | 1 | 3 | 1130 |  |  | 2.2 | 7 | 7.3 |  | 1 | 0 | 6807 | 9.6 | 10500 |  | 506 | 17.2 | 0.39 | 15.7 | 1
2013-02-19 | 22 | 17.5 | 3 | 1 | 4.3 | 120 | 41 | 0 | 10400 | 1 | 5 | 35 |  | 0.1 | 4 | 9.1 | 7 | 0.15 | 1 | 0 | 105 | 26.8 | 162 |  | 28.6 | 14.2 | 0.21 | 35.9 | 2
2013-05-23 | 24 | 16.9 | 3 | 13 | 6.1 | 10 | 10 | 0 |  | 1 | 3 | 37 | 0.08 | 0.13 | 2.9 | 6.4 | 7.3 | 0.1 | 2 | 0 | 103 | 25.2 | 159 | 295 | 24.4 | 27.9 | 0.21 | 47.6 | 2
2013-07-17 | 30 | 247 | 6.2 | 30 | 5.8 | 5 | 470 | 0 | 2834 | 1 | 3 | 114 | 0.05 | 0.1 | 1.9 | 6 | 7.2 | 0.1 | 3 | 0 | 646 | 29.6 | 987 |  | 59.2 | 29.8 | 0.24 | 31.1 | 1
2013-09-18 | 54 | 2267 |  | 13 | 6 | 2 | 1200 | 0 | 1053 | 1 | 3 | 839 | 0.05 | 0.29 |  | 4.2 | 7.2 | 0.12 | 2 | 0 | 5240 | 9.7 | 8070 |  | 551 | 30.8 | 0.43 | 12.1 | 3
2013-12-18 | 16 | 14.1 |  | 22 | 5.3 | 15 | 30 | 0 | 6270 | 1 | 2 | 32 | 0.05 | 0.1 |  | 10.3 | 7.1 | 0.08 | 1 | 0 | 96 | 23.6 | 147 |  | 28.6 | 9.7 | 0.26 | 28.8 | 2
2014-03-12 | 22 | 18.4 |  | 8 | 5.4 | 16 | 31 | 0 | 6240 | 1 | 3 | 36 | 0.05 | 0.1 |  | 9 | 6.8 | 0.08 | 1 | 0 | 103 | 11.6 | 159 |  | 26.8 | 15.3 | 0.29 | 33.9 | 4
2014-07-09 | 26 | 14.8 |  | 14 | 6 | 2 | 41 | 0 | 4730 | 1 | 3 | 37 | 0.05 | 0.1 |  |  |  | 0.1 | 2 | 0 | 110 | 15.2 |  |  | 23.9 |  | 0.33 | 28.4 | 1
2014-09-10 | 27 | 26.7 |  | 12 | 6.1 | 4 | 10 | 0 | 1680 | 1 | 3 | 41 | 0.05 | 0.1 |  | 6.1 | 7.1 | 0.05 | 2 | 0 | 134 | 9.3 | 207 |  | 23.4 | 30.3 | 0.52 | 14.9 | 2
2015-05-06 | 24 | 12 |  | 9 | 7 | 23 | 76 | 0 | 18500 | 1 | 3 | 36 | 0.08 | 0.1 |  | 5.8 | 6.4 | 0.09 | 3 | 0 | 87 | 10.8 | 134 |  | 22.6 | 21.9 | 0.5 | 30.7 | 3
2015-06-30 | 25 | 9.2 |  | 3 | 6.7 | 14 |  | 0 | 21800 | 1 | 3 | 35 | 0.09 | 0.1 |  | 4.6 | 6.4 | 0.04 | 2 | 0 | 74 | 10.4 | 114 |  | 15 | 27.9 | 0.47 | 23.3 | 2
2015-09-02 | 33 | 47.8 |  | 1 | 6 | 11 | 52 | 0 |  | 1 | 3 | 51 | 0.05 | 0.1 |  | 6.9 | 7.3 | 0.05 | 2 | 0 | 187 | 7.2 | 287 | 1290 | 23.5 | 29.2 |  | 13 | 2
2015-12-02 | 11 | 10 |  | 11 | 6 | 31 | 20 | 0 | 8220 | 1 | 3 | 26 | 0.05 | 0.11 |  | 8.1 | 6.6 | 0.07 | 3 | 0 | 69 | 16.2 | 106 |  | 22.1 | 16.1 | 0.38 | 27.4 | 1
2016-08-03 | 24 | 11.4 |  | 5 | 6.3 | 4 | 10 | 0 | 2180 | 1 | 3 | 31 | 0.05 | 0.1 |  | 7 | 7 | 0.07 | 2 | 0 | 78 | 10.2 | 120 |  | 14.6 | 32.4 | 0.29 | 29 | 1
2016-10-04 | 24 | 10.8 | 3 | 29 | 6.5 | 10 | 10 | 0 | 4530 | 1 | 3 | 30 | 0.05 | 0.1 |  | 7.7 | 7 | 0.09 | 2 | 0 | 74 | 13.8 | 114 |  | 14.4 | 26.7 | 0.32 | 33.4 | 3
2017-01-05 | 16 | 11.6 | 4.3 | 3 | 6.4 | 820 |  | 0 | 5100 | 1 | 3 | 28 | 0.05 | 0.1 |  | 7.4 | 6.8 | 0.1 | 3 | 0 | 71 | 22.2 | 109 |  | 17.6 | 15.6 | 0.2 | 51.9 | 2
2017-03-08 | 18 | 15.2 | 5.8 | 1 | 6.6 | 920 | 340 | 0 | 7810 | 1 | 3 | 34 | 0.07 | 0.1 |  | 8 | 6.8 | 0.09 | 2 | 0 | 92 | 26 | 142 |  | 26.3 | 18.6 | 0.13 | 38.7 | 3
2017-07-06 | 24 | 11.7 | 10.3 | 7 | 6.5 | 6 | 10 | 0 | 6420 | 1 | 3 | 32 | 0.05 | 0.1 |  | 6.4 | 6.8 | 0.09 | 2 | 0 | 80 | 15.2 | 123 |  | 17.1 | 30.7 | 0.24 | 28.5 | 1
2018-02-14 | 20 | 11.5 |  | 1 | 7.4 |  | 910 |  | 19900 | 1 | 5 | 75 | 0.05 | 0.1 |  | 9.3 | 6.7 | 0.34 | 3 |  |  | 59.5 | 99 |  | 11.2 | 11.8 | 0.12 | 47.1 | 1
2018-05-17 | 24 | 11.4 |  | 12 |  |  | 20 |  | 3210 | 1 | 3 | 20 | 0.02 | 1 |  | 7.3 | 6.9 | 0.25 | 1 |  |  | 36 | 122 |  | 11.7 | 28 | 0.25 | 16.9 | 2
2018-06-28 | 20 | 10.7 |  | 7 | 7 |  | 10 |  | -759 | 1 | 2 | 32 | 0.02 | 0.1 |  | 5.9 | 6.8 | 1.51 | 2 |  |  | 24 | 102 |  | 10.9 | 30.5 | 0.18 | 17.7 | 2
2018-10-10 | 36 | 10.1 |  | 1 | 7.32 |  | 52 |  | 240 | 1 | 2 | 35 | 0.08 | 0.1 |  | 5.6 | 6.9 | 0.22 | 2 |  |  | 26 | 111 |  | 9 | 26.9 | 0.17 | 37.3 | 1
2019-01-31 | 20 | 9.4 |  | 2 | 7.38 |  |  |  | 26000 | 1 | 5 | 30 | 0.17 | 0.3 |  | 9.8 | 6.5 | 0.17 | 3 |  |  | 28 | 99 |  | 12.1 | 9.6 | 0.26 | 25.6 | 3
2019-05-23 | 20 | 8.1 |  | 12 | 7.53 |  | 41 |  | 22500 | 1 | 5 | 24 | 0.07 | 0.1 |  | 5.8 | 6.3 | 0.17 | 2 |  |  | 33 | 106 |  | 10.2 | 25.7 | 0.16 | 35.3 | 3
2019-08-08 | 22 | 9.8 |  | 4 | 6.92 |  | 10 |  | 3680 | 1 | 3 | 41 | 0.41 | 0.1 |  | 6.5 | 7 | 0.23 | 2 |  |  | 43.5 | 117 |  | 10.3 | 31.3 | 0.13 | 41.5 | 1
2019-10-29 | 20 | 7.1 |  | 4 | 7.07 |  | 41 |  | 10300 | 1 | 3 | 31 | 0.05 | 0.5 |  | 7.4 | 6.1 | 0.06 | 2 |  |  | 34 | 66 |  | 5.3 | 17.8 | 0.2 | 31.6 | 2
2020-01-21 | 20 | 15.6 |  | 8 | 6.58 |  | 10 |  | 7060 | 1 | 3 | 80 | 0.06 | 0.1 |  | 9.3 | 6.9 | 0.06 | 1 |  |  | 37.2 | 140 |  | 17.1 | 13.9 | 0.17 | 43.99 | 2
2020-03-25 | 20 | 12.2 |  | 4 | 6.9 |  | 74 |  | 17000 | 1 | 3 | 41 | 0.07 | 0.1 |  | 7 | 6.4 | 0.06 | 3 |  |  | 37.6 | 120 |  | 13.4 | 20.6 | 0.21 | 34 | 1
2020-07-09 | 22 | 13.5 |  | 2 | 6.09 |  | 430 |  | -327 | 1 | 3 | 65 | 0.06 | 0.1 |  | 7 | 6.9 | 0.06 | 2 |  |  | 27.6 | 140 |  | 16.4 | 30.4 | 0.2 | 39.5 | 2
2020-09-30 | 20 | 11.3 |  | 7 | 6.71 |  | 10 |  | 1700 | 1 | 3 | 75 | 0.02 | 0.1 |  | 6.2 | 6.6 | 0.06 | 1 |  |  | 21.2 | 101 |  | 9.9 | 23.7 | 0.3 | 25.12 | 1
2021-01-14 | 20 | 11 |  | 4 | 6.9 |  | 62 |  | 18000 | 1 | 3 | 53 | 0.08 | 0.1 |  | 10.6 | 6.4 | 0.06 | 1 |  |  | 30.8 | 101 |  | 14.4 | 8.5 | 0.19 | 47.3 | 2
2021-04-27 | 20 | 14.3 |  | 4 | 7.4 |  | 10 |  | 12000 | 1 | 3 | 24 | 0.07 | 0.1 |  | 7 | 6.7 | 0.06 | 3 |  |  | 36.7 | 133 |  | 18.9 | 21.2 | 0.14 | 65 | 3
2021-07-13 | 20 | 9.8 |  | 1 | 7.22 |  | 160 |  | 21000 | 1 | 5 | 31 | 0.09 | 0.1 |  | 5.4 | 6.7 | 0.06 | 2 |  |  | 15.6 | 114 |  | 12.1 | 26.8 | 0.27 | 23 | 1
2021-10-19 | 24 | 11.6 |  | 4 | 6.766 |  | 10 |  | 4000 | 1 | 3 | 87 | 0.02 | 0.1 |  | 7.4 | 6.9 | 0.06 | 2 |  |  | 23.6 | 121 |  | 9.9 | 23.6 | 0.17 | 30.6 | 3
2021-12-15 | 24 | 19.9 |  | 9 | 6.6 |  | 10 |  | 2700 | 1 | 3 | 53 | 0.03 | 0.2 |  | 8.8 | 7 | 0.06 | 3 |  |  | 24.4 | 148 |  | 12 | 17.8 | 0.21 | 36.3 | 3
2022-04-13 | 20 | 13.5 |  | 13 | 6.492 |  | 10 |  | 6800 | 1 | 3 | 26 | 0.02 | 0.2 |  | 7.7 | 7.2 | 0.06 | 3 |  |  | 33.2 | 140 |  | 23 | 21.4 | 0.17 | 40 | 2